These resources are pulled from a recent podcast on Science Vs. I took the transcript which is available here and passed it through ChatGPT. I then went through all sources and put them in by hand.

By my calculations, one transatlantic flight produces roughly the same amount of CO2 as 100,000-1,000,000 ChatGPT calls.

## Energy use & emissions

| Source / Author | Key Findings / Context |
| --- | --- |
| MIT Technology Review – James O’Donnell & Casey Crownhart (2025) | Ran independent measurements of open-source models (LLaMA) → text prompt energy use ranges from ~0.1s–8s of microwave time depending on model size; large models can exceed image generation. |
| Google White Paper (2025) | Claims median Gemini text prompt uses 0.24 Wh (~9 seconds of TV) and 0.26 mL water. |
| OpenAI Blog Post (June 2025) | Reports ChatGPT prompt uses 0.34 Wh and 0.000085 gal water. |
| Lawrence Berkeley National Laboratory, 2024 Data Center Energy Report | U.S. data center electricity grew from 30 TWh (2014) to ~100 TWh (2023) — tripled growth heavily driven by GPUs. |
| Prediction (2028 analysis) | AI data centers could use 250–400 TWh/year — equal to 25% of US household electricity consumption. |

## Water use

| Source | Key Findings |
| --- | --- |
| Shaolei Ren (UC Riverside), “Water Footprint of AI” (2023–2024) | A ~30-turn ChatGPT-3 conversation ≈ 500 mL bottle of water, but only 12–13% is potable cooling water; the remainder is water withdrawn for electricity production. |
| LBNL report cited | Data centers directly consume ~17.5B gallons/year in the US (~0.3% national public water supply). |
| NOAA / hydrology context | Evaporated water returns unpredictably: extraction in dry regions increases scarcity risk. |
| IEA estimate | 100 MW data center water ≈ demand of ~2,600 households. |

## Technology and infrastructure trends

| Topic | Resource / Evidence |
| --- | --- |
| GPU-accelerated servers | Core driver of energy growth; model size (parameters) is critical variable. |
| Cooling | Evaporative cooling reliant on filtered municipal water due to mineral sensitivity. |
| Power sources | U.S. grid still ~74% fossil fuels → emissions strongly coupled. |
| Company actions | XAI running Tennessee data center on ~15–420 MW gas turbine generators while waiting for permits. |
| Microsoft & Nuclear (Three Mile Island) | Re-opening for data-center-linked power purchase agreement. |
| Efficiency pushes | Mixture-of-Experts, selective parameter activation, hardware optimization reduce per-prompt cost by up to 44× in internal metrics. |

## Usage scale

| Metric | Evidence |
| --- | --- |
| ChatGPT requests/day | 2.5B prompts/day (OpenAI to Axios). |
| Organizational uptake | 78% of surveyed organizations use AI (Stanford AI Index 2025). |
| Public perception | 61% of U.S. users believe AI has more drawbacks than benefits (Stanford AI Index 2025). |

## Video generation

| Model | Resource | Impact |
| --- | --- | --- |
| Open-source video generator (Stable Diffusion video variant) | 5-second low-quality video ≈ 3.4M joules | = >1 hour microwave + 700× image energy. |
| OpenAI Sora | No public numbers; likely higher based on model complexity. |  |